{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Chart1","Sheet1"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":41,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Chart1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":1,"n_rows":106,"n_cols":13,"rows_kept":106,"cut":false,"hidden":false,"merged":[]}
["Countercurrent Tube-in-tube Heat Exchanger"]
[null,null,null,null,null,null,null,"Hot outlet temperature",null,null,null,"Error2"]
["Tubing specs",null,null,"density",988,"kg/m3",null,"Tho",42.076593992397122,"degC",null,{"$f":"(Thi-K106)^2","v":5.0487097934144756E-29}]
["Outer",11,"BWG","Heat capacity"]
["OD",2,"inches","Cp",4186.8,"J/kg/degC",null,"Index","Distance","Tc","Th","dTc/dz","dTh/dz"]
[null,{"$f":"B5*0.0254","v":5.0799999999999998E-2},"m","Flow rates",null,null,null,0,{"$f":"L*H6/100","v":0},{"$f":"Tci","v":10},{"$f":"Tho","v":42.076593992397122},{"$f":"hi*Ai/wc/Cp*(K6-J6)","v":7.8378151779307332},{"$f":"ho*Ao/wh/Cp*(K6-J6)","v":2.3513445533792203}]
["ID",1.76,"inches","Shell/hot",1,"L/s",null,1,{"$f":"L*H7/100","v":0.05},{"$f":"J6+L6*(I7-I6)","v":10.391890758896537},{"$f":"K6+M6*(I7-I6)","v":42.194161220066086},{"$f":"hi*Ai/wc/Cp*(K7-J7)","v":7.7707850831136636},2.3312355249340992]
[null,{"$f":"B7*0.0254","v":4.4704000000000001E-2},"m",null,{"$f":"E7/1000","v":1E-3},"m3/s",null,2,{"$f":"L*H8/100","v":0.1},{"$f":"J7+L7*(I8-I7)","v":10.78043001305222},{"$f":"K7+M7*(I8-I7)","v":42.310722996312791},{"$f":"hi*Ai/wc/Cp*(K8-J8)","v":7.7043282390698238},2.3112984717209475]
["Inside Area",{"$f":"PI()*B7^2/4","v":2.4328493509399358},"in2","wh",{"$f":"E8*density","v":0.98799999999999999},"kg/s",null,3,{"$f":"L*H9/100","v":0.15},11.165646425005711,42.42628791989884,{"$f":"hi*Ai/wc/Cp*(K9-J9)","v":7.6384397432781919},2.2915319229834576]
[null,{"$f":"PI()*B8^2/4","v":1.569577087252409E-3},"m2","Tube/cold",0.3,"L/s",null,4,{"$f":"L*H10/100","v":0.2},11.547568412169621,42.540864516048011,{"$f":"hi*Ai/wc/Cp*(K10-J10)","v":7.5731147351447907},2.2719344205434373]
["Inner",11,"BWG",null,{"$f":"E10/1000","v":2.9999999999999997E-4},"m3/s",null,5,{"$f":"L*H11/100","v":0.25},11.926224148926861,42.654461237075182,{"$f":"hi*Ai/wc/Cp*(K11-J11)","v":7.508348395644127},2.2525045186932386]
["OD",1,"inch","wc",{"$f":"E11*density","v":0.2964},"kg/s",null,6,{"$f":"L*H12/100","v":0.3},12.301641568709067,42.767086463009846,{"$f":"hi*Ai/wc/Cp*(K12-J12)","v":7.4441359469636925},2.2332407840891078]
["Do",{"$f":"B12*0.0254","v":2.5399999999999999E-2},"m","Linear velocities",null,null,null,7,{"$f":"L*H13/100","v":0.35},12.673848366057252,42.8787485022143,{"$f":"hi*Ai/wc/Cp*(K13-J13)","v":7.3804726521514921},2.2141417956454479]
["ID",0.76,"inches","Shell/hot",{"$f":"E8/(B10-B17)","v":0.94084918067791046},"m/s",null,8,{"$f":"L*H14/100","v":0.4},13.042871998664827,42.989455591996574,{"$f":"hi*Ai/wc/Cp*(K14-J14)","v":7.3173538147666175},2.1952061444299855]
["Di",{"$f":"B14*0.0254","v":1.9303999999999998E-2},"m","Tube/cold",{"$f":"E11/B19","v":1.0250304231596183},"m/s",null,9,{"$f":"L*H15/100","v":0.45},13.408739689403157,43.099215899218073,{"$f":"hi*Ai/wc/Cp*(K15-J15)","v":7.2547747785327799},2.1764324335598344]
["Outside Area",{"$f":"PI()*B12^2/4","v":0.78539816339744828},"in2","Heat transfer coefficient",null,null,null,10,{"$f":"L*H16/100","v":0.5},13.771478428329797,43.208037520896063,{"$f":"hi*Ai/wc/Cp*(K16-J16)","v":7.1927309269948134},2.1578192780984442]
[null,{"$f":"PI()*Do^2/4","v":5.0670747909749769E-4},"m2","hi",5000,"W/m2/degC",null,11,{"$f":"L*H17/100","v":0.55000000000000004},14.131114974679537,43.315928484800985,{"$f":"hi*Ai/wc/Cp*(K17-J17)","v":7.1312176831781322},2.13936530495344]
["Inside Area",{"$f":"PI()*B14^2/4","v":0.45364597917836613},"in2","ho",{"$f":"hi*Di/Do","v":3800},"W/m2/degC",null,12,{"$f":"L*H18/100","v":0.6},14.487675858838443,43.422896750048658,{"$f":"hi*Ai/wc/Cp*(K18-J18)","v":7.0702305092510747},2.1210691527753225]
[null,{"$f":"PI()*Di^2/4","v":2.9267423992671466E-4},"m2","Heat transfer areas/length",null,null,null,13,{"$f":"L*H19/100","v":0.65},14.841187384300998,43.528950207687423,{"$f":"hi*Ai/wc/Cp*(K19-J19)","v":7.0097649061901501},2.1029294718570455]
["Length -- L",5,"m","Ai",{"$f":"PI()*Di","v":6.0645304584897364E-2},"m2/m",null,14,{"$f":"L*H20/100","v":0.7},15.191675629610504,43.634096681280276,{"$f":"hi*Ai/wc/Cp*(K20-J20)","v":6.9498164134481533},2.0849449240344464]
[null,null,null,"Ao",{"$f":"PI()*Do","v":7.9796453401180745E-2},"m2/m",null,15,{"$f":"L*H21/100","v":0.75},15.539166450282913,43.738343927481999,{"$f":"hi*Ai/wc/Cp*(K21-J21)","v":6.8903806086250992},2.0671141825875301]
[null,null,null,"Inlet temperatures",null,null,null,16,{"$f":"L*H22/100","v":0.8},15.883685480714169,43.841699636611374,{"$f":"hi*Ai/wc/Cp*(K22-J22)","v":6.8314531071419893},2.0494359321425972]
[null,null,null,"Hot - Thi",50,"degC",null,17,{"$f":"L*H23/100","v":0.85},16.225258136071268,43.9441714332185,{"$f":"hi*Ai/wc/Cp*(K23-J23)","v":6.7730295619173635},2.0319088685752091]
[null,null,null,"Cold - Tci",10,"degC",null,18,{"$f":"L*H24/100","v":0.9},16.563909614167137,44.045766876647264,{"$f":"hi*Ai/wc/Cp*(K24-J24)","v":6.7151056630466073},2.0145316989139825]
[null,null,null,null,null,null,null,19,{"$f":"L*H25/100","v":0.95},16.899664897319468,44.146493461592961,{"$f":"hi*Ai/wc/Cp*(K25-J25)","v":6.6576771374840149},1.9973031412452049]
[null,null,null,null,null,null,null,20,{"$f":"L*H26/100","v":1},17.232548754193669,44.246358618655222,{"$f":"hi*Ai/wc/Cp*(K26-J26)","v":6.6007397487275723},1.980221924618272]
[null,null,null,null,null,null,null,21,{"$f":"L*H27/100","v":1.05},17.562585741630048,44.345369714886132,{"$f":"hi*Ai/wc/Cp*(K27-J27)","v":6.5442892965064168},1.9632867889519254]
[null,null,null,null,null,null,null,22,{"$f":"L*H28/100","v":1.1000000000000001},17.889800206455369,44.443534054333732,{"$f":"hi*Ai/wc/Cp*(K28-J28)","v":6.4883216164710005},1.9464964849413005]
[null,null,null,null,null,null,null,23,{"$f":"L*H29/100","v":1.1499999999999999},18.214216287278919,44.540858878580799,{"$f":"hi*Ai/wc/Cp*(K29-J29)","v":6.4328325798858694},1.9298497739657612]
[null,null,null,null,null,null,null,24,{"$f":"L*H30/100","v":1.2},18.535857916273212,44.637351367279088,{"$f":"hi*Ai/wc/Cp*(K30-J30)","v":6.3778180933250974},1.9133454279975295]
[null,null,null,null,null,null,null,25,{"$f":"L*H31/100","v":1.25},18.854748820939466,44.733018638678963,{"$f":"hi*Ai/wc/Cp*(K31-J31)","v":6.3232740983703106},1.8969822295110934]
[null,null,null,null,null,null,null,26,{"$f":"L*H32/100","v":1.3},19.170912525857982,44.827867750154518,{"$f":"hi*Ai/wc/Cp*(K32-J32)","v":6.2691965713112978},1.8807589713933897]
[null,null,null,null,null,null,null,27,{"$f":"L*H33/100","v":1.35},19.484372354423549,44.921905698724188,{"$f":"hi*Ai/wc/Cp*(K33-J33)","v":6.2155815228491837},1.8646744568547553]
[null,null,null,null,null,null,null,28,{"$f":"L*H34/100","v":1.4},19.795151430566008,45.015139421566928,{"$f":"hi*Ai/wc/Cp*(K34-J34)","v":6.1624249978021357},1.8487274993406411]
[null,null,null,null,null,null,null,29,{"$f":"L*H35/100","v":1.45},20.103272680456115,45.107575796533958,{"$f":"hi*Ai/wc/Cp*(K35-J35)","v":6.1097230748135889},1.8329169224440771]
[null,null,null,null,null,null,null,30,{"$f":"L*H36/100","v":1.5},20.408758834196796,45.199221642656163,{"$f":"hi*Ai/wc/Cp*(K36-J36)","v":6.0574718660629738},1.8172415598188925]
[null,null,null,null,null,null,null,31,{"$f":"L*H37/100","v":1.55},20.711632427499946,45.290083720647104,{"$f":"hi*Ai/wc/Cp*(K37-J37)","v":6.005667516978904},1.8017002550936714]
[null,null,null,null,null,null,null,32,{"$f":"L*H38/100","v":1.6},21.011915803348892,45.380168733401788,{"$f":"hi*Ai/wc/Cp*(K38-J38)","v":5.9543062059548317},{"$f":"ho*Ao/wh/Cp*(K38-J38)","v":1.7862918617864498}]
[null,null,null,null,null,null,null,33,{"$f":"L*H39/100","v":1.65},21.309631113646631,45.469483326491108,{"$f":"hi*Ai/wc/Cp*(K39-J39)","v":5.9033841440671218},1.7710152432201367]
[null,null,null,null,null,null,null,34,{"$f":"L*H40/100","v":1.7},21.604800320849989,45.558034088652114,{"$f":"hi*Ai/wc/Cp*(K40-J40)","v":5.852897574795545},1.7558692724386638]
[null,null,null,null,null,null,null,35,{"$f":"L*H41/100","v":1.75},21.897445199589768,45.645827552274049,{"$f":"hi*Ai/wc/Cp*(K41-J41)","v":5.8028427737461632},1.7408528321238492]
[null,null,null,null,null,null,null,36,{"$f":"L*H42/100","v":1.8},22.187587338277076,45.732870193880245,{"$f":"hi*Ai/wc/Cp*(K42-J42)","v":5.7532160483765766},1.7259648145129731]
[null,null,null,null,null,null,null,37,{"$f":"L*H43/100","v":1.85},22.475248140695907,45.819168434605892,{"$f":"hi*Ai/wc/Cp*(K43-J43)","v":5.7040137377235212},1.7112041213170566]
[null,null,null,null,null,null,null,38,{"$f":"L*H44/100","v":1.9},22.760448827582081,45.904728640671742,{"$f":"hi*Ai/wc/Cp*(K44-J44)","v":5.6552322121328116},1.6965696636398435]
[null,null,null,null,null,null,null,39,{"$f":"L*H45/100","v":1.95},23.043210438188723,45.989557123853736,{"$f":"hi*Ai/wc/Cp*(K45-J45)","v":5.60686787299157},1.6820603618974712]
[null,null,null,null,null,null,null,40,{"$f":"L*H46/100","v":2},23.3235538318383,46.073660141948608,{"$f":"hi*Ai/wc/Cp*(K46-J46)","v":5.5589171524627616},1.6676751457388286]
[null,null,null,null,null,null,null,41,{"$f":"L*H47/100","v":2.0499999999999998},23.601499689461438,46.157043899235546,{"$f":"hi*Ai/wc/Cp*(K47-J47)","v":5.5113765132219932},1.653412953966598]
[null,null,null,null,null,null,null,42,{"$f":"L*H48/100","v":2.1},23.877068515122538,46.239714546933875,{"$f":"hi*Ai/wc/Cp*(K48-J48)","v":5.4642424481965683},1.6392727344589708]
[null,null,null,null,null,null,null,43,{"$f":"L*H49/100","v":2.15},24.150280637532365,46.321678183656822,{"$f":"hi*Ai/wc/Cp*(K49-J49)","v":5.417511480306767},1.6252534440920303]
[null,null,null,null,null,null,null,44,{"$f":"L*H50/100","v":2.2000000000000002},24.421156211547704,46.402940855861424,{"$f":"hi*Ai/wc/Cp*(K50-J50)","v":5.3711801622093427},1.6113540486628031]
[null,null,null,null,null,null,null,45,{"$f":"L*H51/100","v":2.25},24.689715219658169,46.483508558294567,{"$f":"hi*Ai/wc/Cp*(K51-J51)","v":5.3252450760432124},1.5975735228129642]
[null,null,null,null,null,null,null,46,{"$f":"L*H52/100","v":2.2999999999999998},24.955977473460329,46.563387234435211,{"$f":"hi*Ai/wc/Cp*(K52-J52)","v":5.2797028331773177},1.5839108499531955]
[null,null,null,null,null,null,null,47,{"$f":"L*H53/100","v":2.35},25.219962615119197,46.642582776932869,{"$f":"hi*Ai/wc/Cp*(K53-J53)","v":5.2345500739606514},1.5703650221881957]
[null,null,null,null,null,null,null,48,{"$f":"L*H54/100","v":2.4},25.48169011881723,46.721101028042277,{"$f":"hi*Ai/wc/Cp*(K54-J54)","v":5.1897834674744132},1.5569350402423243]
[null,null,null,null,null,null,null,49,{"$f":"L*H55/100","v":2.4500000000000002},25.741179292190953,46.798947780054391,{"$f":"hi*Ai/wc/Cp*(K55-J55)","v":5.1453997112862861},1.5436199133858859]
[null,null,null,null,null,null,null,50,{"$f":"L*H56/100","v":2.5},25.998449277755267,46.876128775723686,{"$f":"hi*Ai/wc/Cp*(K56-J56)","v":5.1013955312068191},1.5304186593620459]
[null,null,null,null,null,null,null,51,{"$f":"L*H57/100","v":2.5499999999999998},26.253519054315607,46.952649708691787,{"$f":"hi*Ai/wc/Cp*(K57-J57)","v":5.0577676810478858},1.517330304314366]
[null,null,null,null,null,null,null,52,{"$f":"L*H58/100","v":2.6},26.506407438368001,47.028516223907509,{"$f":"hi*Ai/wc/Cp*(K58-J58)","v":5.0145129423832202},1.5043538827149663]
[null,null,null,null,null,null,null,53,{"$f":"L*H59/100","v":2.65},26.757133085487162,47.103733918043254,{"$f":"hi*Ai/wc/Cp*(K59-J59)","v":4.9716281243109828},1.4914884372932951]
[null,null,null,null,null,null,null,54,{"$f":"L*H60/100","v":2.7},27.005714491702712,47.178308339907922,{"$f":"hi*Ai/wc/Cp*(K60-J60)","v":4.9291100632183813},1.4787330189655148]
[null,null,null,null,null,null,null,55,{"$f":"L*H61/100","v":2.75},27.252169994863628,47.252244990856198,{"$f":"hi*Ai/wc/Cp*(K61-J61)","v":4.8869556225482809},1.4660866867644844]
[null,null,null,null,null,null,null,56,{"$f":"L*H62/100","v":2.8},27.496517775991041,47.325549325194423,{"$f":"hi*Ai/wc/Cp*(K62-J62)","v":4.8451616925678209},1.4535485077703465]
[null,null,null,null,null,null,null,57,{"$f":"L*H63/100","v":2.85},27.738775860619434,47.398226750582943,{"$f":"hi*Ai/wc/Cp*(K63-J63)","v":4.8037251901390148},1.4411175570417047]
[null,null,null,null,null,null,null,58,{"$f":"L*H64/100","v":2.9},27.978962120126383,47.470282628435029,{"$f":"hi*Ai/wc/Cp*(K64-J64)","v":4.7626430584913066},1.4287929175473921]
[null,null,null,null,null,null,null,59,{"$f":"L*H65/100","v":2.95},28.21709427305095,47.541722274312399,{"$f":"hi*Ai/wc/Cp*(K65-J65)","v":4.721912266996064},1.4165736800988196]
[null,null,null,null,null,null,null,60,{"$f":"L*H66/100","v":3},28.453189886400754,47.612550958317343,{"$f":"hi*Ai/wc/Cp*(K66-J66)","v":4.6815298109430259},1.4044589432829078]
[null,null,null,null,null,null,null,61,{"$f":"L*H67/100","v":3.05},28.687266376947903,47.68277390548149,{"$f":"hi*Ai/wc/Cp*(K67-J67)","v":4.6414927113186257},1.392447813395588]
[null,null,null,null,null,null,null,62,{"$f":"L*H68/100","v":3.1},28.919341012513836,47.752396296151268,{"$f":"hi*Ai/wc/Cp*(K68-J68)","v":4.601798014586242},1.3805394043758727]
[null,null,null,null,null,null,null,63,{"$f":"L*H69/100","v":3.15},29.149430913243148,47.821423266370061,{"$f":"hi*Ai/wc/Cp*(K69-J69)","v":4.5624427924683157},1.3687328377404948]
[null,null,null,null,null,null,null,64,{"$f":"L*H70/100","v":3.2},29.377553052866563,47.889859908257087,{"$f":"hi*Ai/wc/Cp*(K70-J70)","v":4.5234241417303238},{"$f":"ho*Ao/wh/Cp*(K70-J70)","v":1.3570272425190972}]
[null,null,null,null,null,null,null,65,{"$f":"L*H71/100","v":3.25},29.603724259953079,47.957711270383044,{"$f":"hi*Ai/wc/Cp*(K71-J71)","v":4.4847391839666155},1.3454217551899847]
[null,null,null,null,null,null,null,66,{"$f":"L*H72/100","v":3.3},{"$f":"J71+L71*(I72-I71)","v":29.827961219151408},{"$f":"K71+M71*(I72-I71)","v":48.024982358142545},{"$f":"hi*Ai/wc/Cp*(K72-J72)","v":4.4463850653880659},1.3339155196164201]
[null,null,null,null,null,null,null,67,{"$f":"L*H73/100","v":3.35},30.050280472420813,48.091678134123363,{"$f":"hi*Ai/wc/Cp*(K73-J73)","v":4.408358956611556},1.3225076869834671]
[null,null,null,null,null,null,null,68,{"$f":"L*H74/100","v":3.4},30.270698420251389,48.157803518472534,{"$f":"hi*Ai/wc/Cp*(K74-J74)","v":4.3706580524512511},1.3111974157353754]
[null,null,null,null,null,null,null,69,{"$f":"L*H75/100","v":3.45},30.489231322873952,48.223363389259305,{"$f":"hi*Ai/wc/Cp*(K75-J75)","v":4.333279571711655},1.2999838715134966]
[null,null,null,null,null,null,null,70,{"$f":"L*H76/100","v":3.5},30.705895301459535,48.288362582834978,{"$f":"hi*Ai/wc/Cp*(K76-J76)","v":4.2962207569824464},1.2888662270947342]
[null,null,null,null,null,null,null,71,{"$f":"L*H77/100","v":3.55},30.920706339308655,48.352805894189714,{"$f":"hi*Ai/wc/Cp*(K77-J77)","v":4.259478874435068},1.2778436623305205]
[null,null,null,null,null,null,null,72,{"$f":"L*H78/100","v":3.6},31.133680283030408,48.416698077306243,{"$f":"hi*Ai/wc/Cp*(K78-J78)","v":4.2230512136210416},1.2669153640863127]
[null,null,null,null,null,null,null,73,{"$f":"L*H79/100","v":3.65},31.344832843711458,48.480043845510558,{"$f":"hi*Ai/wc/Cp*(K79-J79)","v":4.1869350872720288},1.2560805261816088]
[null,null,null,null,null,null,null,74,{"$f":"L*H80/100","v":3.7},31.554179598075059,48.542847871819639,{"$f":"hi*Ai/wc/Cp*(K80-J80)","v":4.1511278311015847},1.2453383493304755]
[null,null,null,null,null,null,null,75,{"$f":"L*H81/100","v":3.75},31.761735989630139,48.605114789286162,{"$f":"hi*Ai/wc/Cp*(K81-J81)","v":4.1156268036086168},1.2346880410825851]
[null,null,null,null,null,null,null,76,{"$f":"L*H82/100","v":3.8},31.967517329810569,48.66684919134029,{"$f":"hi*Ai/wc/Cp*(K82-J82)","v":4.0804293858825202},1.2241288157647563]
[null,null,null,null,null,null,null,77,{"$f":"L*H83/100","v":3.85},32.171538799104695,48.72805563212853,{"$f":"hi*Ai/wc/Cp*(K83-J83)","v":4.0455329814099832},1.2136598944229953]
[null,null,null,null,null,null,null,78,{"$f":"L*H84/100","v":3.9},32.373815448175193,48.788738626849678,{"$f":"hi*Ai/wc/Cp*(K84-J84)","v":4.0109350158834358},1.203280504765031]
[null,null,null,null,null,null,null,79,{"$f":"L*H85/100","v":3.95},32.574362198969368,48.848902652087929,{"$f":"hi*Ai/wc/Cp*(K85-J85)","v":3.9766329370111499},1.1929898811033453]
[null,null,null,null,null,null,null,80,{"$f":"L*H86/100","v":4},32.773193845819925,48.908552146143094,{"$f":"hi*Ai/wc/Cp*(K86-J86)","v":3.9426242143289549},1.1827872642986865]
[null,null,null,null,null,null,null,81,{"$f":"L*H87/100","v":4.05},32.970325056536375,48.967691509358026,{"$f":"hi*Ai/wc/Cp*(K87-J87)","v":3.908906339013563},1.172671901704069]
[null,null,null,null,null,null,null,82,{"$f":"L*H88/100","v":4.0999999999999996},33.165770373487049,49.026325104443231,{"$f":"hi*Ai/wc/Cp*(K88-J88)","v":3.8754768236974986},1.1626430471092497]
[null,null,null,null,null,null,null,83,{"$f":"L*H89/100","v":4.1500000000000004},33.359544214671928,49.084457256798693,{"$f":"hi*Ai/wc/Cp*(K89-J89)","v":3.8423332022855945},1.1526999606856785]
[null,null,null,null,null,null,null,84,{"$f":"L*H90/100","v":4.2},33.551660874786208,49.142092254832974,{"$f":"hi*Ai/wc/Cp*(K90-J90)","v":3.8094730297730828},1.1428419089319251]
[null,null,null,null,null,null,null,85,{"$f":"L*H91/100","v":4.25},33.74213452627486,49.199234350279568,{"$f":"hi*Ai/wc/Cp*(K91-J91)","v":3.7768938820652163},1.1330681646195651]
[null,null,null,null,null,null,null,86,{"$f":"L*H92/100","v":4.3},33.93097922037812,49.255887758510546,{"$f":"hi*Ai/wc/Cp*(K92-J92)","v":3.7445933557984463},1.123378006739534]
[null,null,null,null,null,null,null,87,{"$f":"L*H93/100","v":4.3499999999999996},34.118208888168041,49.312056658847524,{"$f":"hi*Ai/wc/Cp*(K93-J93)","v":3.7125690681631252},1.1137707204489378]
[null,null,null,null,null,null,null,88,{"$f":"L*H94/100","v":4.4000000000000004},34.303837341576198,49.367745194869968,{"$f":"hi*Ai/wc/Cp*(K94-J94)","v":3.6808186567277281},1.1042455970183185]
[null,null,null,null,null,null,null,89,{"$f":"L*H95/100","v":4.45},34.487878274412587,49.422957474720882,{"$f":"hi*Ai/wc/Cp*(K95-J95)","v":3.6493397792645763},1.0948019337793731]
[null,null,null,null,null,null,null,90,{"$f":"L*H96/100","v":4.5},34.670345263375815,49.477697571409848,{"$f":"hi*Ai/wc/Cp*(K96-J96)","v":3.6181301135770534},1.0854390340731161]
[null,null,null,null,null,null,null,91,{"$f":"L*H97/100","v":4.55},34.85125176905467,49.531969523113503,{"$f":"hi*Ai/wc/Cp*(K97-J97)","v":3.5871873573282893},1.0761562071984869]
[null,null,null,null,null,null,null,92,{"$f":"L*H98/100","v":4.5999999999999996},35.030611136921081,49.58577733347343,{"$f":"hi*Ai/wc/Cp*(K98-J98)","v":3.5565092278713273},1.0669527683613984]
[null,null,null,null,null,null,null,93,{"$f":"L*H99/100","v":4.6500000000000004},35.208436598314648,49.639124971891498,{"$f":"hi*Ai/wc/Cp*(K99-J99)","v":3.5260934620807203},1.0578280386242163]
[null,null,null,null,null,null,null,94,{"$f":"L*H100/100","v":4.7},35.384741271418683,49.69201637382271,{"$f":"hi*Ai/wc/Cp*(K100-J100)","v":3.4959378161855952},1.0487813448556786]
[null,null,null,null,null,null,null,95,{"$f":"L*H101/100","v":4.75},35.559538162227959,49.744455441065497,{"$f":"hi*Ai/wc/Cp*(K101-J101)","v":3.4660400656041181},1.0398120196812355]
[null,null,null,null,null,null,null,96,{"$f":"L*H102/100","v":4.8},35.732840165508165,49.79644604204956,{"$f":"hi*Ai/wc/Cp*(K102-J102)","v":3.4363980047793889},1.0309194014338168]
[null,null,null,null,null,null,null,97,{"$f":"L*H103/100","v":4.8499999999999996},35.90466006574713,49.847992012121253,{"$f":"hi*Ai/wc/Cp*(K103-J103)","v":3.4070094470167454},1.0221028341050238]
[null,null,null,null,null,null,null,98,{"$f":"L*H104/100","v":4.9000000000000004},36.07501053809797,49.899097153826503,{"$f":"hi*Ai/wc/Cp*(K104-J104)","v":3.3778722243224375},1.0133616672967314]
[null,null,null,null,null,null,null,99,{"$f":"L*H105/100","v":4.95},36.243904149314091,49.949765237191336,{"$f":"hi*Ai/wc/Cp*(K105-J105)","v":3.3489841872437087},1.0046952561731128]
[null,null,null,null,null,null,null,100,{"$f":"L*H106/100","v":5},36.411353358676273,49.999999999999993,{"$f":"hi*Ai/wc/Cp*(K106-J106)","v":3.3203432047102228},0.99610296141306698]